Dumping Tanks

- Employee vehicles will not be parked in front of or next to dump station.  Dental Employees are asked to park elsewhere (not at bus garage).

- If there are cars blocking dump station, work with Facilities to get them moved.

- Pull up as close as possible to dump station.

- Two employees put on proper PPE (stored in compartment under bus)

  - Gown

  - Shoe covers

  - Bonnet

  - Gloves

  - Face shield

- Check nozzle for tight fit.

- Unroll hose and be sure it extends (without stress) to dump tank.

- Have one person hold hose over dump tank pipe.

- The person at the bus, will hold the hose connection with one hand and open the valve with the other hand to allow fluids to drain properly.

- Turn valve off.

- Allow rest of fluids to drain from hose by lifting hose.

- Put hose back in compartment.

- Close dump station.

- Remove PPE and dispose of.