LEAVE GARAGE

- Inspect outside of bus and bus garage, to be sure it is safe to pull out of garage

- Unfold Stairs

- Unlock Door

- Enter bus

- Turn on generator

- Turn power switch to OFF, then unplug shore power. Unplug network cables.

- Perform Daily inspection checklist.

- Run Biological tests.

- Retrieve needed items from under-bus storage for restocking.

- Check all cabinets and drawers to be sure they are placed in the LOCK position.

- Be sure pins are secured in PANO

- Close stairs when ready to leave.

- Be sure everyone who is traveling has seat belt.

- Back out of garage.

- Close garage door.

- Read Daily Charge as traveling.

RETURN TO GARAGE

- Park near dump tank, outside garage, if required.

- Follow dump/fill schedule.

- Open Garage Door, pull into garage

- Open stairs

- Inspect outside of bus to be sure you have clearance for slide outs (if needed)

- Make a list of items that are needed for restocking

- Follow cleaning schedule (extend slide outs if cleaning schedule requires it.)

- Confirm last load of sterilization is complete.  Prepare to bring remaining instruments to clinic or SPD as needed.

- Remove trash

- Exchange any nitrous or oxygen tanks as needed.

- Refill DEF as needed (if not filled while refueling).

- Be sure shore power is in the OFF position, plug in, then flip switch to ON.

- Plug into network.

- Post trip inspection. Headlights off

- Note:  Badger vacuums have a 10 minute auto cycle at end of day.

- Return slide outs to closed position.

- Turn generator off.

- Lock Door

- Be sure garage lights are off and close garage door.

ARRIVE AT CLINIC or SCHOOL LOCATION

- Confirm parking Spot

- Park Bus

- Emergency Brake

- Lower Stairs

- Inspect outside of bus to be sure there is enough clearance for stairs and slide outs

- Release air suspension switch.

- Lower Jacks

- Extend Slide outs

- Have assigned person meet with school regarding plans for the day while this checklist is being administered. Bring Walkie Talkie.

- Untie chairs.

- Turn on computers, Open Dental, MiPacs, etc.

- Turn on PANO, remove pins and prepare for use.

- Turn on vacuums, Air Compressor, Water Heater

- Set up operatories

- Set up sterilization, start biological tests if not already started.

DEPART FROM CLINIC or SCHOOL LOCATION

- Have designated person check in with school and give a report.  Ask how things went from their perspective.  Collect Walkie Talkie.

- Finish last load of sterilization.

- Shut down software, PANO, Air Compressor, vacuums, water heater, computers and place ERGOTRON in upright position.

- Replace pins to secure PANO.

- Secure all loose items on counters.

- Check all cabinets and drawers to be sure they are placed in LOCK position.

- Tie down equipment and chairs.

- Be sure nitrous cart is tied down and tanks are closed.

- Be sure all outside compartments are closed.

- Retract slide ins.  Be sure nothing is in the way of slide out and there is no debris on floors.

- Be sure everything in sterilization area is put away and properly stored/tied down.

- Raise jacks

- Raise stairs

- Be sure everyone is secure in a seat belt.

- Release Emergency Brake

- Pull away from curb/ parking space.

- Check diesel fuel levels, stop to refuel if necessary.  Try to fill when half full. Fill DEF as needed.

- Work on paperwork on way back to garage.